## dic
| CERN ST/EL | [17 empty] | PAGE : 1/1
| DIC |  | DEMANDE D'INSTALLATION DE CABLES | [8 empty] | DATE D'EMISSION : | 25.2.2003 | VERSION : 1 | Réservé ST-EL
|  |  | DEMANDEUR : | A. Burns |  | DESCRIPTION : | BPQSH/V, Tune couplers |  |  |  |  | FIN TRAVAUX DEMANDE : |  |  | RECU LE:
|  |  | TEL : | 75296 |  | DIVISION : | AB |  |  |  |  | CODE BUDGETAIRE : | 96547 |  | No. DT:
|  |  | NATEL : | 16 0869 |  | GROUPE : | BDI |  |  |  |  | NOM SIGNATURE AUTORISE : | Koopman |  | AFFAIRE :
| COMMENTAIRES : |  |  | L’emplacement de l’équipement est donné en mètres depuis IP1. | [10 empty] | ACTIVITE :
|  |  |  | Les numéros des racks sont ceux dans les tableaux fournis par Jan Koopman | [10 empty] | OSE :
Le nom de ce détecteur, BPQSH/V, n'est pas définitif
|  | 5 | 4 | 20 | 6 | 12 | 12 | 3 | 4 | 7 | 7 | 6 | 12 | 12 | 3 | 4 | 7 | 7
No. Cable | No | TYPE | RE- | FONCTION DU CABLE |  |  | ORIGINE | [6 empty] | DESTINATION |  |  |  |  | LON-
(par ST-EL) |  | CABLE | SEAU |  | OUVRAG | EQUIPEMENT | ELEMENT | POSV | POSH | CONNECT | CONVN | OUVRAG | EQUIPEMENT | ELEMENT | POSV | POSH | CONNECT | CONVN | GUEUR
| 1 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQSH B2E 9836 |  |  |  | 1N50PMQ
| 2 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQSH B2E 9836 |  |  |  | 1N50PMQ
| 3 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQS B2E 9849 |  |  |  | 1N50PMQ
| 4 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQS B2E 9849 |  |  |  | 1N50PMQ
| 5 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQS B2E 9849 |  |  |  | 1N50PMQ
| 6 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQS B2E 9849 |  |  |  | 1N50PMQ
| 7 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQSV B2E 9884 |  |  |  | 1N50PMQ
| 8 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | RA43 | BPQSV B2E 9884 |  |  |  | 1N50PMQ
| 9 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTH B2] | chassis | ? |  | 1N50PMQ
| 10 | CMC50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTV B2] | chassis | ? |  | 1N50PMQ
| 11 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTH B1] | chassis | ? |  | 1N50PMQ
| 12 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTV B1] | chassis | ? |  | 1N50PMQ
| 13 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQSV B1I 10110 |  |  |  | 1N50PMQ
| 14 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQSV B1I 10110 |  |  |  | 1N50PMQ
| 15 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQS B1I 10146 |  |  |  | 1N50PMQ
| 16 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQS B1I 10146 |  |  |  | 1N50PMQ
| 17 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQS B1I 10146 |  |  |  | 1N50PMQ
| 18 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQS B1I 10146 |  |  |  | 1N50PMQ
| 19 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQSH B1I 10159 |  |  |  | 1N50PMQ
| 20 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | RA47 | BPQSH B1I 10159 |  |  |  | 1N50PMQ
21
22
23
24
25
26
27
28
29
30