## dic
| CERN ST/EL | [17 empty] | PAGE : 1/1
| DIC |  | DEMANDE D'INSTALLATION DE CABLES | [8 empty] | DATE D'EMISSION : | 25.2.2003 | VERSION : 1 | Réservé ST-EL
|  |  | DEMANDEUR : | A. Burns |  | DESCRIPTION : | BPRSH/V, Resonant couplers |  |  |  |  | FIN TRAVAUX DEMANDE : |  |  | RECU LE:
|  |  | TEL : | 75296 |  | DIVISION : | AB |  |  |  |  | CODE BUDGETAIRE : | 96547 |  | No. DT:
|  |  | NATEL : | 16 0869 |  | GROUPE : | BDI |  |  |  |  | NOM SIGNATURE AUTORISE : | Koopman |  | AFFAIRE :
| COMMENTAIRES : |  |  | L’emplacement de l’équipement est donné en mètres depuis IP1. | [10 empty] | ACTIVITE :
|  |  |  | Les numéros des racks sont ceux dans les tableaux fournis par Jan Koopman | [10 empty] | OSE :
Le nom de ce détecteur, BPRSH/V, n'est pas définitif
|  | 5 | 4 | 20 | 6 | 12 | 12 | 3 | 4 | 7 | 7 | 6 | 12 | 12 | 3 | 4 | 7 | 7
No. Cable | No | TYPE | RE- | FONCTION DU CABLE |  |  | ORIGINE | [6 empty] | DESTINATION |  |  |  |  | LON-
(par ST-EL) |  | CABLE | SEAU |  | OUVRAG | EQUIPEMENT | ELEMENT | POSV | POSH | CONNECT | CONVN | OUVRAG | EQUIPEMENT | ELEMENT | POSV | POSH | CONNECT | CONVN | GUEUR
| 1 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSH B2E 9834 |  |  |  | 1N50PM
| 2 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSH B2E 9834 |  |  |  | 1N50PM
| 3 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSH B2E 9834 |  |  |  | 1N50PM
| 4 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSH B2E 9834 |  |  |  | 1N50PM
| 5 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSV B2E 9883 |  |  |  | 1N50PM
| 6 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSV B2E 9883 |  |  |  | 1N50PM
| 7 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSV B2E 9883 |  |  |  | 1N50PM
| 8 | CG50 |  | signal | UA43 | BY10 | chassis | 20 |  | 1N50PM |  | RA43 | BPRSV B2E 9883 |  |  |  | 1N50PM
| 9 | CMC50 |  | signal | UA47 | BY10 | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTH B2] | chassis | ? |  | 1N50PMQ
| 10 | CMC50 |  | signal | UA47 | BY10 | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTV B2] | chassis | ? |  | 1N50PMQ
| 11 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTH B1] | chassis | ? |  | 1N50PMQ
| 12 | CMC50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PMQ |  | UX45 | [ADTV B1] | chassis | ? |  | 1N50PMQ
| 13 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSV B1I 10112 |  |  |  | 1N50PM
| 14 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSV B1I 10112 |  |  |  | 1N50PM
| 15 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSV B1I 10112 |  |  |  | 1N50PM
| 16 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSV B1I 10112 |  |  |  | 1N50PM
| 17 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSH B1I 10160 |  |  |  | 1N50PM
| 18 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSH B1I 10160 |  |  |  | 1N50PM
| 19 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSH B1I 10160 |  |  |  | 1N50PM
| 20 | CG50 |  | signal | UA47 | [BY05] | chassis | 20 |  | 1N50PM |  | RA47 | BPRSH B1I 10160 |  |  |  | 1N50PM
21
22
23
24
25
26
27
28
29
30