## dic
| CERN ST/EL | [17 empty] | PAGE :
| DIC |  | DEMANDE D'INSTALLATION DE CABLES | [8 empty] | DATE D'EMISSION : | 37655 | VERSION :1 | Réservé ST-EL
|  |  | DEMANDEUR : | P.Odier |  | DESCRIPTION : | LHC BCTDC, IP4 |  |  |  |  | FIN TRAVAUX DEMANDE : | 2003-2004 |  | RECU LE:
|  |  | TEL : | 73817 |  | DIVISION : | AB |  |  |  |  | CODE BUDGETAIRE : | 96547 |  | No. DT:
|  |  | GSM : | 1603076 |  | GROUPE : | BDI |  |  |  |  | NOM SIGNATURE AUTORISE : | R.Jones - J.Koopman |  | AFFAIRE :
| COMMENTAIRES : |  |  | Ces câbles devraient être installés en même temps que les autres câbles pour l'instrumentation faisceau située au point 4 | [10 empty] | ACTIVITE :
OSE :
|  | 5 | 4 | 20 | 6 | 12 | 12 | 3 | 4 | 7 | 7 | 6 | 12 | 12 | 3 | 4 | 7 | 7
No. Cable | No | TYPE | RE- | FONCTION DU CABLE |  |  | ORIGINE | [6 empty] | DESTINATION |  |  |  |  | LON-
(par ST-EL) |  | CABLE | SEAU |  | OUVRAG | EQUIPEMENT | ELEMENT | POSV | POSH | CONNECT | CONVN | OUVRAG | EQUIPEMENT | ELEMENT | POSV | POSH | CONNECT | CONVN | GUEUR
| 1 | NG18 |  | Power/modulation 1A | RA43 | BCTDC | entre D3 et D4/R |  |  | 12BPFB |  | UA43 | BCTDC | BY07 |  | 40 | 12BPMB
| 2 | NF12 |  | Control 1A | RA43 | BCTDC | entre D3 et D4/R |  |  | 12BPMB |  | UA43 | BCTDC | BY07 |  | 40 | 12BPFB
| 3 | NF12 |  | Signal 1A | RA43 | BCTDC | entre D3 et D4/R |  |  | 12BPMB |  | UA43 | BCTDC | BY07 |  | 40 | 12BPFB
| 4 | ND36 |  | Monitoring/cal./offset 1A | RA43 | BCTDC | entre D3 et D4/R |  |  | 28BPMB |  | UA43 | BCTDC | BY07 |  | 40 | 28BPFB
| 5 | NG18 |  | Power/modulation 2A | RA43 | BCTDC | entre D3 et D4/R |  |  | 12BPFB |  | UA43 | BCTDC | BY07 |  | 40 | 12BPMB
| 6 | NF12 |  | Control 2A | RA43 | BCTDC | entre D3 et D4/R |  |  | 12BMB |  | UA43 | BCTDC | BY07 |  | 40 | 12BPFB
| 7 | NF12 |  | Signal 2A | RA43 | BCTDC | entre D3 et D4/R |  |  | 12BPMB |  | UA43 | BCTDC | BY07 |  | 40 | 12BPFB
| 8 | ND36 |  | Monitoring/cal./offset 2A | RA43 | BCTDC | entre D3 et D4/R |  |  | 28BPMB |  | UA43 | BCTDC | BY07 |  | 40 | 28BPFB
| 9 | NG18 |  | Power/modulation 1B | RA47 | BCTDC | entre D3 et D4/L |  |  | 12BPFB |  | UA47 | BCTDC | [BY01] |  | 40 | 12BPMB
| 10 | NF12 |  | Control 1B | RA47 | BCTDC | entre D3 et D4/L |  |  | 12BMB |  | UA47 | BCTDC | [BY01] |  | 40 | 12BPFB
| 11 | NF12 |  | Signal 1B | RA47 | BCTDC | entre D3 et D4/L |  |  | 12BPMB |  | UA47 | BCTDC | [BY01] |  | 40 | 12BPFB
| 12 | ND36 |  | Monitoring/cal./offset 1B | RA47 | BCTDC | entre D3 et D4/L |  |  | 28BPMB |  | UA47 | BCTDC | [BY01] |  | 40 | 28BPFB
| 13 | NG18 |  | Power/modulation 2B | RA47 | BCTDC | entre D3 et D4/L |  |  | 12BPFB |  | UA47 | BCTDC | [BY01] |  | 40 | 12BPMB
| 14 | NF12 |  | Control 2B | RA47 | BCTDC | entre D3 et D4/L |  |  | 12BMB |  | UA47 | BCTDC | [BY01] |  | 40 | 12BPFB
| 15 | NF12 |  | Signal 2B | RA47 | BCTDC | entre D3 et D4/L |  |  | 12BPMB |  | UA47 | BCTDC | [BY01] |  | 40 | 12BPFB
| 16 | ND36 |  | Monitoring/cal./offset 2B | RA47 | BCTDC | entre D3 et D4/L |  |  | 28BPMB |  | UA47 | BCTDC | [BY01] |  | 40 | 28BPFB
| 17 | NG18 |  | Power/modulation 1A | UA43 | BCTDC | BY07 |  | 40 | 12BPFB |  | SX4 | BCTDC | [A] |  | 40 | 12BPMB
| 18 | NF12 |  | Control 1A | UA43 | BCTDC | BY07 |  | 40 | 12BPMB |  | SX4 | BCTDC | [A] |  | 40 | 12BPFB
| 19 | NF12 |  | Signal 1A | UA43 | BCTDC | BY07 |  | 40 | 12BPMB |  | SX4 | BCTDC | [A] |  | 40 | 12BPFB
| 20 | ND36 |  | Monitoring/cal./offset 1A | UA43 | BCTDC | BY07 |  | 40 | 28BPMB |  | SX4 | BCTDC | [A] |  | 40 | 28BPFB
| 21 | NG18 |  | Power/modulation 2A | UA43 | BCTDC | BY07 |  | 40 | 12BPFB |  | SX4 | BCTDC | [A] |  | 40 | 12BPMB
| 22 | NF12 |  | Control 2A | UA43 | BCTDC | BY07 |  | 40 | 12BMB |  | SX4 | BCTDC | [A] |  | 40 | 12BPFB
| 23 | NF12 |  | Signal 2A | UA43 | BCTDC | BY07 |  | 40 | 12BPMB |  | SX4 | BCTDC | [A] |  | 40 | 12BPFB
| 24 | ND36 |  | Monitoring/cal./offset 2A | UA43 | BCTDC | BY07 |  | 40 | 28BPMB |  | SX4 | BCTDC | [A] |  | 40 | 28BPFB
| 25 | NG18 |  | Power/modulation 1B | UA47 | BCTDC | [BY01] |  | 40 | 12BPFB |  | SX4 | BCTDC | [B] |  | 40 | 12BPMB
| 26 | NF12 |  | Control 1B | UA47 | BCTDC | [BY01] |  | 40 | 12BMB |  | SX4 | BCTDC | [B] |  | 40 | 12BPFB
| 27 | NF12 |  | Signal 1B | UA47 | BCTDC | [BY01] |  | 40 | 12BPMB |  | SX4 | BCTDC | [B] |  | 40 | 12BPFB
| 28 | ND36 |  | Monitoring/cal./offset 1B | UA47 | BCTDC | [BY01] |  | 40 | 28BPMB |  | SX4 | BCTDC | [B] |  | 40 | 28BPFB
| 29 | NG18 |  | Power/modulation 2B | UA47 | BCTDC | [BY01] |  | 40 | 12BPFB |  | SX4 | BCTDC | [B] |  | 40 | 12BPMB
| 30 | NF12 |  | Control 2B | UA47 | BCTDC | [BY01] |  | 40 | 12BMB |  | SX4 | BCTDC | [B] |  | 40 | 12BPFB
| 31 | NF12 |  | Signal 2B | UA47 | BCTDC | [BY01] |  | 40 | 12BPMB |  | SX4 | BCTDC | [B] |  | 40 | 12BPFB
| 32 | ND36 |  | Monitoring/cal./offset 2B | UA47 | BCTDC | [BY01] |  | 40 | 28BPMB |  | SX4 | BCTDC | [B] |  | 40 | 28BPFB