## Allocated rack space
Allocated rack space for AB/BDI in LHC | [18 empty] | Updated:040705
Octant 1 | [7 empty] | Octant 2 | [7 empty] | Octant 3
| Rack | Equip. |  |  | Power |  |  |  | Rack | Equip. |  |  | Power |  |  |  | Rack | Equip. |  |  | Power
Zone | name | name | U's | H | UPS | Conv | PF | Zone | name | name | U's | H | UPS | Conv | PF | Zone | name | name | U's | H | UPS | Conv | PF
RR13 | BY01 | BPM | 24 | 15 | 1.5 | - | 0.6 | UA23(E) | BY07 | BPM | 12 | 25 | 0.5 | - | 0.6 | UJ33 | BY01 | BPM | 24 | 17 | 1.5 | - | 0.6
| BY02 | BLM | 8 | 15 | 0.5 | - | 0.6 |  | ,, | BLM | 8 | 10 | 0.5 | - | 0.6 |  | BY02 | BOB | 3 | 42 | - | - | -
| BY03 | BBC | 40 | 0 | - | 2.5 | 0.8 |  | BY06 | BOB | 3 | 42 | - | - | - |  | ,, | BLM | 16 | 25 | 0.5 | - | 0.6
| BY04 | BBC | 40 | 0 | - | 2.5 | 0.8 |  | ,, | BCTI | 16 | 25 | 0.5 | - | 0.6 |  | ,, | BTV | 8 | 15 | - | 0.5 | 0.6
| BY05 | BBC | 40 | 0 | - | 2.5 | 0.8 |  | ,, | BLMI | 8 | 15 | 0.5 | - | 0.6 |  | BY03 | BLMB | 8 | 28 | 1 | - | 0.6
| BY06 | BBC | 40 | 0 | - | 2.5 | 0.8 | [9 empty] | ,, | BKM | 16 | 10 | - | 2 | 0.6
[8 empty] | UA23(C) | BY03 | BTV | 16 | 25 | - | 2 | 0.6 |  | BY04 | - | - | - | - | - | -
UJ14 | BY01 | BPM | 18 | 20 | 1 | - | 0.6 |  | BY04 | BOB | 3 | 42 | - | - | -
[9 empty] | ,, | BTV | 16 | 25 | - | 2 | 0.6 | tunnel sector 34 |  | BPM | 20 | - | 2 | - | 0.6
USA15 | BY01 | BOB | 3 | 42 | - | - | - |  | BY05 | BPM | 18 | 25 | 0.5 | - | 0.6 | under magnets
|  | BRA | 24 | 15 | 1.5 | - | 0.6 |  | ,, | BCT | 16 | 7 | 1 | - | 0.6 | Q8/12!
| BY02 | BBC | 16 | 28 | 0.5 | - | 0.6
| ,, | BKM | 16 | 10 | - | 2 | 0.6 | UA23(B) | BY01 | BPM | 18 | 24 | 1 | - | 0.6
| ,, | BI motors | 8 | 0 | - | 2.2 | 0.8 |  | ,, | BRA | 16 | 6 | 0.5 | - | 0.6
| BY03 | BBC | 40 | 0 | - | 1 | 0.6 |  | BY02 | BOB | 3 | 42 | - | - | -
| BY04 | BBC | 40 | 0 | - | 1 | 0.6 |  | ,, | BKM | 16 | 25 | - | 2 | 0.6
| BY05 | - | - | - | - | - | -
[8 empty] | PX24 | - | - | - | - | - | - | -
US15 | - | - | - |  | - | - | -
[8 empty] | US25 | - | - | - | - | - | - | -
UJ16 | BY01 | BPM | 18 | 20 | 1 | - | 0.6
[8 empty] | UA27(B) | BY01 | BOB | 3 | 42 | - | - | -
RR17 | BY01 | BPM | 24 | 15 | 1.5 | - | 0.6 |  | ,, | BPM | 18 | 22 | 1 | - | 0.6
| BY02 | BLM | 8 | 15 | 0.5 | - | 0.6 |  | ,, | BRA | 16 | 4 | 0.5 | - | 0.6
| BY03 | BBC | 40 | 0 | - | 2.5 | 0.8
| BY04 | BBC | 40 | 0 | - | 2.5 | 0.8 | UA27(C) | BY02 | BPM | 18 | 20 | 1 | - | 0.6
| BY05 | BBC | 40 | 0 | - | 2.5 | 0.8
| BY06 | BBC | 40 | 0 | - | 2.5 | 0.8 | UA27(E) | BY03 | BPM | 12 | 25 | 0.5 | - | 0.6
[9 empty] | ,, | BLM | 8 | 15 | 0.5 | - | 0.6
[9 empty] | BY04 | - | - | - | - | - | -
SR1 | BY01 | BLM | 40 | 0 | 1 | - | 0.6 | SR2 | BY01 | BLM | 40 | 0 | 1 | - | 0.6 | SR3 | BY01 | BLM | 40 | 0 | 1 | - | 0.6
| BY02 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY02 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY02 | BLM | 40 | 0 | 1 | - | 0.6
| BY03 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY03 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY03 | BLM | 40 | 0 | 1 | - | 0.6
| BY04 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY04 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY04 | BPM | 40 | 0 | 1 | - | 0.6
| BY05 | BOB | 6 | 40 | - | - | - |  | BY05 | BOB | 6 | 40 | - | - | - |  | BY05 | BOB | 6 | 40 | - | - | -
| ,, | BPM | 40 | 0 | 1 | - | 0.6 |  | ,, | BPM | 40 | 0 | 1 | - | 0.6 |  | ,, | BPM | 40 | 0 | 1 | - | 0.6
| BY06 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY06 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY06 | BPM | 40 | 0 | 1 | - | 0.6
| BY07 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY07 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY07 | BPM | 40 | 0 | 1 | - | 0.6
Octant 4-1 | [7 empty] | Octant 4-2 | [7 empty] | Octant 5
| Rack | Equip. |  |  | Power |  |  |  | Rack | Equip. |  |  | Power |  |  |  | Rack | Equip. |  |  | Power
Zone | name | name | U's | H | UPS | Conv | PF | Zone | name | name | U's | H | UPS | Conv | PF | Zone | name | name | U's | H | UPS | Conv | PF
UA43(E) | BY12 | BLM | 8 | 15 | 0.5 | - | 0.6 | UA47(B) | BY01 | BPM | 12 | 30 | 0.5 | - | 0.6 | RR53 | BY01 | BPM | 24 | 15 | 1.5 | - | 0.6
| BY13 | BPM | 12 | 15 | 0.5 | - | 0.6 |  | BY02 | BOB | 3 | 42 | - | - | - |  | BY02 | BLM | 8 | 15 | 0.5 | - | 0.6
| BY14 | - | - | - | - | - | - |  | ,, | BSRL | 28 | 12 | - | 0.5 | 0.6 |  | BY03 | BBC | 40 | 0 | - | 2.5 | 0.8
[9 empty] | BY03 | - | - | - | - | - | - |  | BY04 | BBC | 40 | 0 | - | 2.5 | 0.8
UA43(CL) | [A] | MBAC | 40 | 0 | - | - | - |  | BY04 | - | - | - | - | - | - |  | BY05 | BBC | 40 | 0 | - | 2.5 | 0.8
| [B] | MBAC | 40 | 0 | - | - | - |  | RGMWH.R4B2 | MBGI | 40 | 0 | - | 4 | 0.8 |  | BY06 | BBC | 40 | 0 | - | 2.5 | 0.8
| [C] | MBAC | 40 | 0 | - | - | - |  | RYHAC01 | MBGI | 8 | 15 | - | 0.5 | 0.6
| [D] | MBAC | 40 | 0 | - | - | - |  | RGMWV.R4B2 | MBGI | 40 | 0 | - | 4 | 0.8 | USC55 | BY01 | BPM | 18 | 20 | 1 | - | 0.6
| [E] | MBAC | 40 | 0 | - | - | - | [9 empty] | BY02 | - | - | - | - | - | -
| [F] | MBAC | 40 | 0 | - | - | - | UA47(CL) | BY05 | BOB | 3 | 42 | - | - | - |  | BY03 | BOB | 3 | 42 | - | - | -
| [G] | MBAC | 40 | 0 | - | - | - |  | ,, | BPM | 12 | 25 | 0.5 | - | 0.6 |  | ,, | BRA | 24 | 16 | 0.5 | - | 0.6
| [H] | MBAC | 40 | 0 | - | - | - |  | BY06 | BQKH | 20 | 22 | 2 | - | 0.6 |  | BY04 | BBC | 16 | 24 | 0.5 | - | 0.6
[9 empty] | ,, | BQKV | 20 | 2 | 2 | - | 0.6 |  | ,, | BKM | 16 | 6 | - | 2 | 0.6
UA43(CR) | BY08 | BOB | 3 | 39 | - | - | - |  | BY07 | BPL (PLL) | 20 | 22 | 1.5 | - | 0.6 |  | BY05 | BBC | 40 | 0 | - | 1 | 0.6
| ,, | BPM | 12 | 25 | 0.5 | - | 0.6 |  | ,, | BPL (PLL) | 20 | 2 | 1.5 | - | 0.6 |  | BY06 | BBC | 40 | 0 | - | 1 | 0.6
| BY09 | BQKV | 20 | 22 | 2 | - | 0.6 | [9 empty] | BY07 | BI motors | 8 | 32 | - | 4.4 | 0.8
| ,, | BQKV | 20 | 2 | 2 | - | 0.6 | UA47(CR) | BY10 | BCTFR | 16 | 22 | 1 | - | 0.6 |  | BY08 | - | - | - | - | - | -
| BY10 | BPL (PLL) | 20 | 22 | 1.5 | - | 0.6 |  | ,, | BCTDC | 10 | 6 | 1 | - | 0.6
| ,, | BPL (PLL) | 20 | 2 | 1.5 | - | 0.6 |  | BY11 | BOB | 3 | 39 | - | - | - | UJ56 | BY01 | BPM | 18 | 20 | 1 | - | 0.6
| BY11 | RF patch | 3 | 39 | - | - | - |  | ,, | BCTFR | 16 | 22 | 1 | - | 0.6
| ,, | APWL | 16 | 23 | - | 1.5 | 0.6 |  | ,, | BCTDC | 10 | 5 | 1 | - | 0.6 | RR57 | BY01 | BPM | 24 | 15 | 1.5 | - | 0.6
| ,, | BTVM | 16 | 5 | - | 2 | 0.6 |  | BY12 | BPL (Q) | 20 | 22 | - | 1.5 | 0.6 |  | BY02 | BLM | 8 | 15 | 0.5 | - | 0.6
[9 empty] | ,, | BPL (HT) | 20 | 2 | - | 1.5 | 0.6 |  | BY03 | BBC | 40 | 0 | - | 2.5 | 0.8
UA43(B) | RGMWH.L4B1 | MBGI | 40 | 0 | - | 4 | 0.8 |  | BY13 | BQSH/V | 20 | 22 | - | 1.5 | 0.6 |  | BY04 | BBC | 40 | 0 | - | 2.5 | 0.8
| RYHAC01 | MBGI | 8 | 15 | - | 0.5 | 0.6 |  | ,, | BQSH/V | 20 | 2 | - | 1.5 | 0.6 |  | BY05 | BBC | 40 | 0 | - | 2.5 | 0.8
| RGMWV.L4B1 | MBGI | 40 | 0 | - | 4 | 0.8 | [9 empty] | BY06 | BBC | 40 | 0 | - | 2.5 | 0.8
| BY01 | - | - | - | - | - | - | UA47(E) | BY08 | BPM | 12 | 15 | 0.5 | - | 0.6
| BY02 | - | - | - | - | - | - |  | BY09 | BLM | 8 | 15 | 0.5 | - | 0.6
| BY03 | - | - | - | - | - | -
| BY04 | - | - | - | - | - | - | SX4: | BY01 | BLM | 40 | 0 | 1 | - | 0.6
| BY05 | - | - | - | - | - | - | 2485/ | BY02 | BLM | 40 | 0 | 1 | - | 0.6
| BY06 | BOB | 3 | 42 | - | - | - | R-002 | BY03 | BLM | 40 | 0 | 1 | - | 0.6
| ,, | RF patch | 1 | 38 | - | - | - |  | BY04 | BPM | 40 | 0 | 1 | - | 0.6
| ,, | BSRL | 28 | 10 | - | 0.5 | 0.6 |  | BY05 | BOB | 6 | 40 | - | - | -
| BY07 | BPM | 12 | 30 | 0.5 | - | 0.6 |  | ,, | BPM | 40 | 0 | 1 | - | 0.6
[9 empty] | BY06 | BPM | 40 | 0 | 1 | - | 0.6
UX45 | - | - | - | - | - | - | - |  | BY07 | BPM | 40 | 0 | 1 | - | 0.6
[9 empty] | BY08 | BCT | 40 | 0 | 1 | - | 0.6
US45 | BY01 | BTVM | 16 | 24 | - | 2 | 0.6 |  | BY09 | BCT | 40 | 0 | 1 | - | 0.6
| ,, | BWS | 16 | 6 | - | 1 | 0.6 |  | BY10 | RF Patch | 1 | 40 | - | - | 0.6
| BY02 | BOB | 3 | 39 | - | - | - |  | ,, | MTG rec. | 10 | 29 | - | - | 0.6 | SE5 | BY01 | BLM | 40 | 0 | 1 | - | 0.6
| ,, | BGI-HV | 24 | 15 | - | 1.5 | 0.6 |  | ,, | BPL (Q) | 10 | 17 | - | 1 | 0.6 |  | BY02 | BLM | 40 | 0 | 1 | - | 0.6
| BY03 | BSRT | 24 | 16 | - | 1 | 0.6 |  | ,, | BPL (HT) | 10 | 5 | - | 1 | - |  | BY03 | BLM | 40 | 0 | 1 | - | 0.6
| ,, | BSRL | 16 | 0 | - | 1 | 0.6 |  | BY11 | BPL (PLL) | 20 | 15 | - | 2 | 0.6 |  | BY04 | BPM | 40 | 0 | 1 | - | 0.6
| BY04 | BKM | 16 | 24 | - | 2 | 0.6 |  | BY12 | BQSH/V | 20 | 15 | - | 2 | 0.6 |  | BY05 | BOB | 6 | 40 | - | - | -
| ,, | BSRA | 16 | 8 | - | 1 | 0.6 |  | BY13 | BWS | 20 | 20 | - | 1 | 0.6 |  | ,, | BPM | 40 | 0 | 1 | - | 0.6
| ,, | BI motors | 8 | 0 | - | 3 | 0.8 |  | ,, | BGI | 20 | 0 | - | 1 | 0.6 |  | BY06 | BPM | 40 | 0 | 1 | - | 0.6
| BY05 | - | - | - | - | - | - |  | BY14 | BSRL | 40 | 0 | - | 1 | 0.6 |  | BY07 | BPM | 40 | 0 | 1 | - | 0.6
Octant 6 | [7 empty] | Octant 7 | [7 empty] | Octant 8
| Rack | Equip. |  |  | Power |  |  |  | Rack | Equip. |  |  | Power |  |  |  | Rack | Equip. |  |  | Power
Zone | name | name | U's | H | UPS | Conv | PF | Zone | name | name | U's | H | UPS | Conv | PF | Zone | name | name | U's | H | UPS | Conv | PF
UJ62 | - | - | - | - | - | - | - | RR73 | BY01 | BPM | 18 | 20 | 1 | - | 0.6 | UA83(E) | BY04 | - | - | - | - | - | -
[9 empty] | ,, | BLM | 8 | 10 | 0.5 | - | 0.6 |  | BY05 | BPM | 12 | 25 | 0.5 | - | 0.6
UJ63 | BY03 | BLM | 8 | 25 | 0.5 | - | 0.6 | [9 empty] | ,, | BLM | 8 | 15 | 0.5 | - | 0.6
1st floor | [7 empty] | UJ76 | BY01 | BPM | 24 | 19 | 1.5 | - | 0.6
[9 empty] | BY02 | BLMB | 8 | 33 | 0.5 | - | 0.6 | UA83(C) | BY03 | BPM | 18 | 20 | 1 | - | 0.6
UA63(C) | BY02 | BPM | 12 | 25 | 0.5 | - | 0.6 |  | ,, | BKM | 16 | 15 | - | 1 | 0.6
[9 empty] | BY03 | BOB | 3 | 42 | - | - | - | UA83(B) | BY01 | BPM | 18 | 24 | 1 | - | 0.6
UA63(B) | BY01 | BCTFD | 8 | 15 | 0.5 | - | 0.6 |  | ,, | BTV | 8 | 25 | - | 0.5 | 0.6 |  | ,, | BRA | 16 | 6 | 0.5 | - | 0.6
[17 empty] | BY02 | BOB | 3 | 42 | - | - | -
UX65 | - | - | - | - | - | - | - | RR77 | BY01 | BPM | 18 | 20 | 1 | - | 0.6 |  | ,, | BKM | 16 | 25 | - | 2 | 0.6
[9 empty] | ,, | BLM | 8 | 10 | 0.5 | - | 0.6
US65 | BY01 | BOB | 3 | 42 | - | - | - | [8 empty] | UX85 | - | - | - | - | - | - | -
| ,, | BTV | 24 | 15 | - | 1.5 | 0.6
| BY02 | BCT | 16 | 24 | 0.5 | - | 0.6 | [8 empty] | US85 | - | - | - | - | - | - | -
| ,, | BKM | 16 | 6 | - | 2 | 0.6
[16 empty] | UA87(B) | BY01 | BOB | 3 | 42 | - | - | -
UA67(B) | BY01 | BCTFD | 8 | 15 | 0.5 | - | 0.6 | [9 empty] | ,, | BPM | 18 | 24 | 1 | - | 0.6
[17 empty] | ,, | BRA | 16 | 6 | 0.5 | - | 0.6
UA67(C) | BY02 | BPM | 12 | 25 | 0.5 | - | 0.6
[16 empty] | UA87(CL) | BY02 | BPM | 10 | 25 | 1 | - | 0.6
UJ67 | BY03 | BLM | 8 | 25 | 0.5 | - | 0.6 | [9 empty] | BY03 | - | - | - | - | - | 0.6
1st floor
[16 empty] | UA87(CR) | BY04 | BOB | 3 | 42 | - | - | -
UJ68 | - | - | - | - | - | - | - | [9 empty] | ,, | BTV | 16 | 24 | - | 1 | 0.6
[17 empty] | BY05 | BTV | 16 | 24 | - | 1 | 0.6
[16 empty] | UA87(E) | BY06 | BPM | 12 | 25 | 0.5 | - | 0.6
[17 empty] | ,, | BLM | 8 | 15 | 0.5 | - | 0.6
[17 empty] | ,, | BLMI | 8 | 5 | 0.5 | - | 0.6
[17 empty] | BY07 | BOB | 3 | 42 | - | - | -
[17 empty] | ,, | BCTI | 16 | 25 | 0.5 | - | 0.6
[17 empty] | ,, | BLM CNGS | 8 | 15 | 0.5 | - | 0.6
[17 empty] | ,, | CNGS motors | 8 | 5 | - | 2.2 | 0.6
SR6 | BY01 | BLM | 40 | 0 | 1 | - | 0.6 | SR7 | BY01 | BLM | 40 | 0 | 1 | - | 0.6 | SR8 | BY01 | BLM | 40 | 0 | 1 | - | 0.6
| BY02 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY02 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY02 | BLM | 40 | 0 | 1 | - | 0.6
| BY03 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY03 | BLM | 40 | 0 | 1 | - | 0.6 |  | BY03 | BLM | 40 | 0 | 1 | - | 0.6
| BY04 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY04 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY04 | BPM | 40 | 0 | 1 | - | 0.6
| BY05 | BOB | 6 | 40 | - | - | - |  | BY05 | BOB | 6 | 40 | - | - | - |  | BY05 | BOB | 6 | 40 | - | - | -
| ,, | BPM | 40 | 0 | 1 | - | 0.6 |  | ,, | BPM | 40 | 0 | 1 | - | 0.6 |  | ,, | BPM | 40 | 0 | 1 | - | 0.6
| BY06 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY06 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY06 | BPM | 40 | 0 | 1 | - | 0.6
| BY07 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY07 | BPM | 40 | 0 | 1 | - | 0.6 |  | BY07 | BPM | 40 | 0 | 1 | - | 0.6
COLOR CODES:
| BY01 |  | No comments
| BY01 |  | Recent changes
| BY01 |  | Spare
| BY01 |  | Place to be reserved only
| SR1 |  | Surface area
| RR13 |  | Underground Area
Updates:
190902: Rack situation changed in UA23, UA43 and UA87, naming of instruments updated.
100603: Rack situation changed in UA87(C).
240603: Rack situation changed in UA43(E) and 47(B).
010404: Rack names in US45.
200404: Rack situatuion in SX4, corrections on items in UA43 and 47.
130504: Power requirements in UA43/BY11, UA47/BY07; name change of BGI in UA43/47 to MBGI and in US45 to BGI-HV.
030804: Rack names in USC55 and US65. Addition of MTG receiver unit in SX4/BY10.
111004: Rack names in USA15.
081104: BOB moved from UA87/BY06 to BY07, added BOB in UA87/BY01, changed height of BOB in SX4/BY05, introduced definitive rack names for SX4, RR53 and RR73.
111104: Addition of SR buildings to list, reservation of racks UA63/BY01 and UA67/BY01 for BCT.
291104: Correction of UA 63/67 (E) into UJ63/67 1st floor.
040205: Correction of building name: SR5 changed into SE5.
040505: Update rackspace for BSRT and BSRL in US45.
050527: New rack requests in UA43 and UA47. Displacement of BCTF and BCTDC. Addition of APWL in UA43/BY11. Addition of space for BTVM in UA43/BY11.
Displacement of 2 and addition of 6 MBAC racks in UA43. Re-arrangement of MBGI racks in UA43 and 47. Important remark: BGI racks are 0.8 m wide!
Suppression of BSR and BWS in USC55.Confirmation of BCTFR reservation in UA63/67.
050607: Clean-up. Deletion of racks taken over by AB/ABT. Deleted QQ', Qmeas, 400 MHz. Updated installation BCT, BQK, BQS, BPL.
170605: New rack requests confirmed and updated.
290605: Redistribution of BCTFR and BCTDC in UA47 BY10 & 11.
040705: Suppression of UD62 and 68.