Using LabView with VME Virtual Instruments from a PC on the office LAN (18-1-2002).

The actual VME VI’s work only with LabView 5.1. Ana Guerrero (SL-BI) is working on a new version for LabView6.

When you design a VI, you should copy the rvme5.1.llb file in the same directory where is stored this VI. This file can be found in the NICE directory:

dfs\divisions\SL\Div_Sl\Bi\Sw\Public\Tools\Labview .

If you want to use the VI also from a HP Unix workstation, you should copy all the relevant files to the directory from where you want to operate the VI – and probably copy the rvme.llb file from /user/biswop/lib/hpux/labview/rvme.llb -. To run LabView from a Unix station just type: labview